Course Topics

EEE 574: Computer Solutions of Power Systems

Prerequisites: Graduate Engineering student

Course Description: Algorithms for digital computation for the Newton and fast-decoupled power flow problem, and fault analysis. Sparse matrix and vector programming methods, creation of elimination trees, network equivalencing, solution of the least squares problem, introduction to state estimation.

# Course Topics:

- Sparsity Methods

- Storage Techniques

- L-U Factorization

- Optimal Ordering

- Sparse L-U Factorization

- Sparse Matrix Algebra

- Sparse Vector Methods

- Matrix Inversion Lemma

- Nonlinear Problem Solvers

- Gauss-Siedel Method

- Newton’s Method (Newton-Raphson Method)

- Power Flow

- Component Models

- Generator Models

- Transmission Line Models

- Transformer Models

- Under-Load Tap Changing (ULTC) Transformers

- Phase-Shifting Transformers

- DC Transmission Line Models (Perhaps)

- Load Models

- Mathematical Statement

- Application of Newton’s Method

- Decoupled Power Flow

- Fast-Decoupled Power Flow

- Data Format

- Power-Flow Programming Techniques

- State Estimation